| Manufactured Casework TE CHNICAL GUIDE | TG 12320 |
| --- | --- |

1.	COORDINATION ISSUES:

1.1	Verify that any listed manufacturer is represented by only one supplier or representative.  We understand a local supplier represents several prominent mainland casework manufacturer’s.

2.	DESIGN ISSUES:

2.1	General Requirements: To preclude limiting casework . . . published edition.  For DAGS projects, use ACWI Custom Grade as the normal standard for design, construction, and installation.

2.2	Ensure the following items are addressed in the design:

2.2.1	Countertop and Shelving Support: Countertops and shelving shall be properly supported to prevent sagging.

2.2.2	Countertop depth: Countertops shall be of sufficient depth (width) to accommodate the equipment that will be used. e.g. The computer CPU, monitor and keyboard along with the appurtenant wiring and cables.

2.2.3	User’s Needs: Shelving and drawers shall be provided to suit the user's requirements.

2.3	Where practical, use etal, plastic, or phenolic core materials for casework as a method of Termite Resistive Construction.

3.	DRAWING NOTES:   (Not Used)

4.	STANDARD DRAWINGS:

4.1 Manufacturers: Use reference standards, performance based specifications and eliminate listing manufacturers if possible.  If listing manufacturers are required, locally available manufacturers and suppliers for mainland manufacturers shall be listed.  Ensure local suppliers and installers represent only a single mainland manufacturer.

5.	SPECIFICATION NOTES:

5.1	Manufacturers:

5.1.1	Problem:  When manufactured cabinets and casework are required for a project, generally the specifier will list manufacturers such as Taylor, Kewaunee, Westmark Products, Inc. and other mainland based firms as acceptable manufacturers.  While the products of mainland manufacturers have generally been acceptable, there have been instances where they have been very difficult to work with, especially given their distance from Hawaii.

5.1.2	Solution:  Based on the successful results of several recently completed projects, the consultant is advised to include Cunningham Cabinets, Ltd.  (a local fabricator) in the listing of acceptable manufacturers provided they, along with the other listed manufacturers, meet the standard of quality and material requirements specified to satisfy the specific project requirements.  Preferably, use a reference standard, such as AWI, to establish the minimum acceptable standard quality of materials and fabrication, rather than listing acceptable manufacturers.

5.2	Cabinet Hardware:

5.2.1	Hinges:  Where concealed “European” type door hinges  (e.g. Grass, Salice, Blum) are specified or intended to be used, the specifications shall clearly indicate that the hinges shall permit the doors to swing open a minimum of 160 degrees (to prevent the pull-out of screw fasteners).  Do not specify pivot-type hinges.

5.3	Other Considerations:  The project specifications shall also address the coordination needed to ensure sinks, electrical outlets, etc. are properly coordinated and installed.

6.	GUIDE SPECIFICATION:    (Not Used)

END OF SECTION 12320