| Allowances TECHNICAL GUIDE | TG 01210 |
| --- | --- |

1.	COORDINATION ISSUES:

1.1	Allowances shall only be used when DAGS has control of the expenditures.  Normally, DAGS will select a Subcontractor, or vendor, or testing agency who will be used on the project with an amount more or less fixed.

1.2	Use of this Section will require inserts in the Sealed Bid Form, see TG 00400.

2.	DESIGN ISSUES: (Not Used)

3.	DRAWING NOTES: (Not Used)

4.	STANDARD DRAWINGS: (Not Used)

5.	SPECIFICATION NOTES:

5.1	Label allowances as A, B, C, etc.  Do not use numbers.

6.	GUIDE SPECIFICATION:

6.1	SECTION 01210 - ALLOWANCES is attached.  Use as necessary.

SPECIFIER’S NOTE: Blue colored italicized text is used for notes to the specifier and should be completely deleted from the final text.  Where [Red colored text in brackets] is shown in this specification section, insert wording, numbers, etc. as appropriate and delete brackets.  Where <Red colored text in brackets> is shown, a choice is indicated. Make the appropriate choice and delete the brackets.  Maintain footer notation with the current version used (e.g. TG 01210 v04.08).  Verify that section titles cross referenced in this Section correspond to this Project’s specifications; Section titles may have changed.

Do not include the Project Name (etc.) line in the footer.  Use the following format for the specification footer.

TG 01210 v04.08	Allowances

DAGS Job No. 00-00-0000	01210 - 1

End Footer Sample

SECTION 01210 - ALLOWANCES

SPECIFIER’S NOTE:  In rare circumstances DAGS will use a construction allowance. Confirm with the Project Coordinator.  Normally an allowance for telecommunication will be used on new school projects.

Verify that Section titles referenced in this Section are correct for this Project’s Specifications.

PART 1 - GENERAL

1.01	SUMMARY

SPECIFIER’S NOTE: Modify paragraph as required.

A.	This Section includes administrative and procedural requirements governing allowances.

1.	Certain materials, equipment, and services are specified in the Contract Documents by allowances.  In some cases, these allowances include installation.  Allowances have been established in lieu of additional requirements and to defer selection of actual materials and equipment to a later date when additional information is available for evaluation.  If necessary, additional requirements will be issued by Change Order.

SPECIFIER’S NOTE: Delete the type(s) of allowances not required.

B.	Types of allowances include the following:

1.	Lump-sum allowances.

2.	Testing and inspecting allowances.

C.	Related Sections include the following:

1.	General Conditions - Article 4 SCOPE OF WORK for procedures for submitting and handling Change Orders.

SPECIFIER’S NOTE:   Delete item 1.02 when not applicable.

1.02	SELECTION AND PURCHASE

A.	At the earliest practical date after award of the Contract, advise the Contracting Officer of the date when final selection and purchase of each product or system described by an allowance must be completed to avoid delaying the Work.

B.	Purchase products and systems selected by the Contracting Officer from the designated supplier.

1.03	SUBMITTALS

A.	Submit proposals for purchase of products or systems included in allowances.

B.	Submit invoices or delivery slips to show actual quantities of materials delivered to the site for use in fulfillment of each allowance.

SPECIFIER’S NOTE:   Delete item 1.04 if not applicable to the project.

1.04	LUMP SUM ALLOWANCES

A.	Use the lump sum allowance only as directed by the Contracting Officer for purpose scheduled in Part 3 below, and only by Change Orders that indicate amounts to be charged to the allowance.

1.	Lump sum allowances to cover lump sum payments to another party shall not include Contractor’s overhead, profit, and related costs.  These costs include delivery, installation, taxes, insurance, equipment rental, and similar costs.   These shall be included in the Total Lump Sum Bid Price.

2.	Contractor’s overhead, profit, and related costs for products and equipment ordered by State under the lump sum allowance are included in the allowance and are not part of the Total Lump Sum Bid Price.  These costs include delivery, installation, taxes, insurance, equipment rental, and similar costs.

3.	At Project closeout, credit unused amounts remaining in the lump sum allowance to State by Change Order.

1.05	TESTING AND INSPECTING ALLOWANCES

A.	Testing and inspecting allowances include the cost of engaging testing agencies, actual tests and inspections, and reporting results.

B.	The allowance does not include incidental labor required to assist the testing agency or costs for retesting if previous tests and inspections result in failure.

C.	Costs of services not required by the Contract Documents are not included in the allowance.

D.	At Project closeout, credit unused amounts remaining in the testing and inspecting allowance to the Department by Change Order.

1.06	UNUSED MATERIALS

A.	Return unused materials purchased under an allowance to manufacturer or supplier for credit to the State, after installation has been completed and accepted.

1.	If requested by the Contracting Officer, prepare unused material for storage by State when it is not economically practical to return the material for credit.  If directed by the Contracting Officer, deliver unused material to State’s storage space.  Otherwise, disposal of unused material is Contractor’s responsibility.

PART 2 - PRODUCTS (Not Used)

PART 3 - EXECUTION

3.01	EXAMINATION

A.	Examine products covered by an allowance promptly on delivery for damage or defects.  Return damaged or defective products to manufacturer for replacement.

3.02	PREPARATION

A.	Coordinate materials and their installation for each allowance with related materials and installations to ensure that each allowance item is completely integrated and interfaced with related work.

3.03	SCHEDULE OF ALLOWANCES

SPECIFIER’S NOTE: Provide additional paragraphs as needed.

A.	Allowance  <Insert Letter>:  Include <Insert allowance description> as specified in Division  <Insert Division number> Section "<Insert Section title>" [and as shown on Drawings].

B.	Allowance  <Insert Letter>:  Include <Insert allowance description> as specified in Division  <Insert Division number> Section "<Insert Section title>" [and as shown on Drawings].

SPECIFIER’S NOTE: Here is a sample of a telecommunications cable distribution system.  With the use of this example, fill-in the first blank line at the end of the Joint Contractors or Subcontractors List on the Sealed Bid Form with “Telecom & Data Cabling”, License No. “C-11882”, and firm name “Verizon Hawaii”.

SAMPLE

A.	Allowance A:  Include a cash allowance of <Insert dollar amount> for the telecommunication cable distribution system for engineering, material, and installation of telecommunication cable distribution system as specified in SECTION 16XXX - TITLE, and as indicated on the drawings.  The work shall include, but not necessarily be limited to, the following:

1.	Complete interbuilding cabling and hardware for the Telecommunications (TCOMM) System, Administrative Data (ADATA) System, and Instructional (IDATA) System.

2.	Intrabuilding cabling and hardware for the Telecommunications (TCOMM) System and Administrative Data (ADATA) System.

B.	The cash allowance is an estimate only and is subject to increase or decrease depending on the actual scope of work and costs.  Additional charges by the Contractor for overhead, coordination, profit, insurance, and other incidental expenses shall not be allowed or added to this cash allowance.

C.	All telecommunication cable distribution system work is in accordance with Verizon Hawaii Incorporated and the State of Hawaii HATS Contract No. <IFB-95-022-OHMK Verify Contract No.>.  The Contractor, acting as an agent of the State of Hawaii, has authority over Verizon Hawaii Incorporated only as to scheduling matters and approval/payment of invoices.  All contractual matters including but not limited to, change orders and dispute resolution are reserved to the State.  Privity of contract remains between the State of Hawaii and Verizon Hawaii Incorporated.

END OF SAMPLE

END OF SECTION