| Sanitary Sewerage TECHNICAL GUIDE | TG 02530 |
| --- | --- |

1.	COORDINATION ISSUES:

1.1	Verify inverts and connections to building plumbing system.

2.	DESIGN ISSUES:

2.1	Verify inverts of existing systems and connections.

3.	DRAWING NOTES:  (Not Used)

4.	STANDARD DRAWINGS: (Not Used)

5.	SPECIFICATION NOTES:

5.1	Specification Paragraphs:  The Consultant shall utilize the following specification paragraphs and information as appropriate in the development of the Project Specifications.

6.	GUIDE SPECIFICATION:

6.1	Final Inspection (Part 3)

6.1.1	Before Final Inspection, ensure sanitary sewer lines and manholes are free from sand, silt or other obstructions.

END OF SECTION 02530