| Subdrainage TECHINICAL GUIDE | TG 02620 |
| --- | --- |

1.	COORDINATION ISSUES:  (Not Used)

2.	DESIGN ISSUES:  (Not Used)

3.	DRAWING NOTES:  (Not Used)

4.	STANDARD DRAWINGS: (Not Used)

5.	SPECIFICATION NOTES:

5.1	Retaining Wall Weephole and Surface Drain Pipes:

5.1.1	Problem:  Metallic pipes used for weepholes and surface drains on retaining walls eventually rust and stain the wall surface.

5.1.2	Solution:  DO specify plastic (PVC or ABS) pipe for these purposes.  DO NOT specify cast iron or galvanized steel pipe.

6.	GUIDE SPECIFICATION: (Not Used)

END OF SECTION 02620