| Metal Stairs and Ladders TECHNICAL GUIDE | TG 05510 |
| --- | --- |

1.	COORDINATION ISSUES:  (Not Used)

2.	DESIGN ISSUES:

2.1	Roof Hatch Ladder Extension:

2.1.1	General: Provide a ladder extension similar to that shown on the attached detail to facilitate access onto the roof after the roof hatch is opened ad back down the ladder upon leaving the roof.

2.1.2	Use of “Safety Posts”: Although extendable “safety posts” that can be attached to the ladder are available, their use is not recommended because of the difficulty in manipulating it to the extended and lowered positions while also holding onto the ladder.

3.	DRAWING NOTES: (Not Used)

4.	STANDARD DRAWINGS:

4.1	Roof Hatch Ladder Extension: See attached drawings A/TG 05510 and B/TG 05510.

5.	SPECIFICATION NOTES:   (Not Used)

6.	GUIDE SPECIFICATION: (Not Used)

END OF SECTION 05