| Visual Display Boards TECHNICAL GUIDE | TG 10100 |
| --- | --- |

1.	COORDINATION ISSUES:

1.1	Construction Time: Account for long lead time when setting the construction time with the Project Coordinator.

2.	DESIGN ISSUES:   (Not Used)

3.	DRAWING NOTES:   (Not Used)

4.	STANDARD DRAWINGS:    (Not Used)

5.	SPECIFICATION NOTES:

5.1	As of 03/2003, DAGS will no longer be maintaining a Guide Specification Section 10100 - Chalkboards and Tackboards.  Utilize the following paragraphs and information as appropriate in the development of the project specifications.  If writing a prescriptive specification, list at least three manufactures and products (model no.) for each material.

6.	GUIDE SPECIFICATION:

6.1	Ordering (Part 1)

6.1.1	Because these are long lead items, order tackboards, markerboards and all accessories within ten (10) days after approval of shop drawings, materials and color samples.

6.2	Manufacturers (Part 2)

Notes to Specifier:  The products of the following manufacturers are acceptable provided they meet the materials and construction:

1.	Claridge Products and Equipment.

2.	Gotham Educational Equipment Co.

3.	Carolina Chalkboard Co.

4.	Nelson-Adams Co.

5.	Bes-Tile Mfg. Co.

6.	Lemco Corp.

7.	Greensteel, Inc.

8.	Chatfield-Clarke Co.

6.3	Materials (Part 2)

6.3.1	Markerboard: 1/4" thick treated tempered hardboard with baked-on writing surface of resinous compound or enamel.  Writing surface shall be washable.

6.3.2	H-Bar: Aluminum joint extrusion, with exposed surface in color matching that of chalkboard.

Note to Specifier:  Do not use tackboard with burlap backing exposed, as the backing is stamped with the manufacturer's name in indelible ink.

6.3.3	Tackboard: 1/4" thick resilient cork composition with vinyl fabric face with washable surface.

6.3.4	Finish and Color: Markerboard and tackboard finish and color shall be selected from manufacturer's standard color range, consisting of minimum 5 different available colors for each markerboard and tackboard.

6.4	Installation: (Part 3) Markerboards shall be installed in single lengths up to 12'. Longer boards shall be divided into 2 equal lengths. Joining shall be done in accordance with manufacturer's standards. Tackboards shall be installed in single lengths.

END OF SECTION 10100