| Lockers TECHNICAL GUIDE | TG 10500 |
| --- | --- |

1.	COORDINATION ISSUES: (Not used)

2.	DESIGN ISSUES:

2.1	Exterior Lockers

2.1.1	Consider using all plastic lockers for exterior type applications.

3.	DRAWING NOTES: (Not Used)

4.	STANDARD DRAWINGS: (Not Used)

5.	SPECIFICATION NOTES:

5.1	Metal Lockers - Security Problems

5.1.1	We have experienced the following security problem with the lockers manufactured by Medart, Inc. that are provided with the standard recessed handles, lift brackets and two-point latching mechanisms. After the door has been properly closed, latched and secured with a padlock, it can be physically opened without the use of tools by lifting up on the bottom of the padlock and pulling on the edge of the door. There is sufficient clearance between the door and frame to permit the door to be lifted so that the latching mechanism can be pulled over the latch hooks.

5.1.2	Although the latch hooks can be bent to minimize the clearance dimensions, it is our opinion that through daily usage, they will revert back to their original position and will require continual maintenance. Please note that the condition described above is not being experienced with latching mechanism/lockers of the other manufacturers.

5.1.3	Therefore, to prevent the recurrence of this problem, lockers manufactured by Medart, Inc. having the described latching mechanism shall not be specified nor approved as equal to locker assemblies by other manufacturers.

6.	GUIDE SPECIFICATION:

END OF SECTION 10500