| Plumbing Fixtures TECHNICAL GUIDE | TG 15410 |
| --- | --- |

1.	COORDINATION ISSUES:   (Not Used)

2.	DESIGN ISSUES:      (Not Used)

3.	DRAWING NOTES:   (Not Used)

4.	STANDARD DRAWINGS:    (Not Used)

5.	SPECIFICATION NOTES:

5.1	Lead in Drinking Water Coolers:  Due to the health hazards associated with lead contamination, the following items shall be addressed in the contract documents:

5.1.1	Drinking water cooler shall be in conformance with the requirements set forth in the "Environmental Protection Agency Federal Register. Part III, Drinking Water Coolers That Are Not Lead Free: Notice for Comments".

5.1.2	The contractor shall submit five (5) copies of certificates from the manufacturer stating that the reservoir tank, solder and fluxes used in the assembly are lead free.

6.	GUIDE SPECIFICATION:    (Not Used)

END OF SECTION 15410