| Plastic Toilet Compartments TECHNICAL GUIDE | TG 10165 |
| --- | --- |

1.	COORDINATION ISSUES:

Refer to DOE uses for various Elementary, Middle, and High School requirements.

2.	DESIGN ISSUES:

2.1	Styles:  Floor supported/overhead braced compartments are not recommended for areas subject to high use or vandalism.  Rather use floor to ceiling mounted plasters.  Ceiling-hung mounted plasters shall not be used.

2.2	Unless required otherwise, use phenolic core or solid plastic materials.  Plastic laminate materials shall be used only with approval from Quality Control Branch and the Project Coordinator.

2.3	Consultant is responsible to design and layout partition and accessories to meet ADAAG’s requirements.

3.	DRAWING NOTES:

3.1	Styles:  Detail type of partition and screen, and show dimensions on drawings.

3.2	Clearances:  Indicate the clearances required below doors and partitions on the drawings.

3.3	Blocking:  Indicate blocking and nailers as required at stud walls and ceiling supports on the drawings.

3.4	Mounting Accessories:  In a standard stall, mount the toilet paper holders on the hinge side of the partition.  This will allow a better, clearer access into stall.

4.	STANDARD DRAWINGS:    (Not Used)

5.	SPECIFICATION NOTES:

5.1	As of 03/2003, DAGS will no longer be maintaining a Guide Specification Section 10161 - Laminated Plastic, Solid Plastic and Phenolic Plastic Toilet Partitions and Urinal Screens.  Utilize the following paragraphs and information as appropriate in the development of the project specifications.

6.	GUIDE SPECIFICATION:

6.1	References: (Part 1)  The publications listed below form a part of this specification:

6.1.1	Americans with Disabilities Act (ADA) Accessibility Guidelines, 36 C.R.F. Pt. 1191.

6.1.2	Children's Design Guidelines prepared by the State of Hawaii Architectural Access Committee.

6.1.3	National Electrical Manufacturers Association Standards LD 3.1 - Performance, Application, Fabrication, and Installation of High-Pressure Decorative Laminates.

6.1.4	American Society for Testing and Materials (ASTM) E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

6.1.5	International Conference of Building Officials (ICBO) Fire Performance test section 3.6 of ICBO Acceptance Criteria 150 For Plastic Partitions Used in Public Restrooms and Similar Facilities.

6.2	Accessibility: (Part 1)  Toilet compartments which are accessible to the physically handicapped shall be in conformance with the criteria noted in the Americans with Disabilities Act (ADA) Accessibility Guidelines and the Children's Design Guidelines.

6.3	Submittals: (Part 1) Submit the following:

6.3.1	Laminated plastic, solid plastic or phenolic plastic samples for color selection.

6.3.2	Manufacturer's shop drawings showing construction and installation details. Indicate the elevations of partitions/screens, hardware, fittings, mounting brackets, proposed method of anchoring, and other related items and installation details.

6.4	Manufacturers (Part 2):

Notes to Specifier:  The products of the following manufacturers are acceptable provided they meet the materials and construction:

6.4.1	Ampco Products Inc.  (Laminated Plastic & Phenolic Plastic)

6.4.2	Accurate Partitions Corp.  (Laminated Plastic & Phenolic Plastic)

6.4.3	Bobrick Washroom Equipment, Inc.  (Phenolic Plastic)

6.4.4	Capitol Partitions, Inc.  (Phenolic Plastic & Solid Plastic)

6.4.5	Columbia Partitions, Inc.  (Phenolic Plastic)

6.4.6	Comtec Industries, Inc.  (Solid Plastic)

6.4.7	DesignRite Partitions  (Phenolic Plastic)

6.4.8	Flush Metal Partition Corp.  (Laminated Plastic & Phenolic Plastic)

6.4.9	Gamco  (Phenolic Plastic)

6.4.10	General Partitions Manufacturing Corp.  (Phenolic Plastic)

6.4.11	Global Steel Products Corp.  (Laminated Plastic & Phenolic Plastic)

6.4.12	Knickerbocker Case Corp., Inc.  (Laminated Plastic & Phenolic Plastic)

6.4.13	Pioneer Plastics Corporation  (Phenolic Plastic)

6.4.14	Metpar Steel Products Corp.  (Phenolic Plastic)

6.4.15	Santana Products Inc.  (Solid Plastic)

6.4.16	Sanymetal Products Co.  (Phenolic Plastic)

6.4.17	Weis / Robart Partitions, Inc.  (Phenolic Plastic)

6.4.18	The products of other manufacturers are acceptable provided they meet or exceed the material and construction requirements specified hereinafter and are prequalified.

6.5	Materials And Construction (Part 2):

6.5.1	Finish

6.5.1.1	The exposed finish surfaces of solid plastic and phenolic plastic compartments and screens shall be self-lubricating; smooth; waterproof; non-absorbent; stain, chemical and graffiti resistant.

6.5.2	Laminated Plastic Doors, Partitions, Stiles and Pilasters:

6.5.2.1	Shall consist of min. 0.050" thick laminated plastic bonded under pressure to all surfaces and edges of a core of exterior A-B grade plywood in accordance with NEMA standards.

6.5.2.2	Plastic Laminate shall have a Class A or B Flame Spread Rating and a maximum Smoke Developed Rating of 450 in conformance with ASTM E 84.

6.5.2.3	Moisture and fungus resistant, thermo-setting adhesives shall be used. Contact cements shall not be permitted.

6.5.2.4	Joints in the plastic laminate shall be carefully sealed to ensure watertightness.

6.5.3	Solid Plastic Doors, Partitions, Stiles and Pilasters:

6.5.3.1	Shall be fabricated from polymer resins formed under high pressure into a single component section which is waterproof and non-absorbent. The color shall extend from the surface through the entire thickness of the panel.

6.5.3.2	Solid plastic shall have a maximum Smoke Density Rating of 75 when tested in conformance with UBC Standard 26-5.

6.5.3.3	Edges shall be machined to a radius of between 1/16" and 1/4" and shall be free of saw marks.

6.5.4	Phenolic Plastic Doors, Partitions, Stiles and Pilasters:

6.5.4.1	Shall be fabricated with a solid phenolic core of multiple resin-impregnated kraft paper sheets with a matte finish melamine surface fused under high temperature and pressure.

6.5.4.2	Phenolic Plastic shall have a Class A or B Flame Spread Rating and a maximum Smoke Developed Rating of 450 in conformance with ASTM E 84.

6.5.4.3	Edges shall be machined smoothed with radiused corners.

6.5.5	Doors:

6.5.5.1	Laminated plastic doors shall be a minimum of 7/8" thick.

6.5.5.2	As an alternative, doors may be of solid plastic a minimum of 1" thick or phenolic plastic a minimum of 3/4" thick.

6.5.5.3	Unless otherwise noted on the drawings, a minimum clear door opening width of 32" shall be provided at the door leading to a handicap accessible toilet stall. This clear width shall be measured between the edge of the door bumper/keeper and the face of the door when opened 90 degrees.

6.5.6	Partitions, Stiles and Pilasters:

6.5.6.1	Laminated plastic partitions shall be a minimum of 7/8" thick. Stiles and pilasters shall be a minimum of 1-1/4" thick unless supplied with a steel reinforced core.

6.5.6.2	As an alternative, partitions, stiles and pilasters may be of solid plastic a minimum of 1" thick or phenolic plastic having partitions a minimum of 1/2" thick and stiles and pilasters a minimum of 3/4" thick.

6.5.6.3	Pilasters and stiles for overhead-braced compartments shall have adjustable floor anchors with leveling devices, studs, and locking nuts to firmly secure pilasters and stiles to the floor.

6.5.6.4	Partitions to which grab bars are fastened, along with their respective brackets and connectors, shall be capable of supporting the imposed loads noted in the ADA AG.

6.5.7	Headrails:  Headrails for overhead-braced compartments shall be of anodized, extruded aluminum alloy with end-caps, of anti-grip design or as standard with the manufacturer; or solid wood core surfaced with plastic laminate and having minimum cross-sectional dimensions of 1-1/4 in. x 2 in.

6.5.8	Urinal Screens:

6.5.8.1	Laminated plastic screens shall be a minimum of 7/8" thick.

6.5.8.2	As an alternative, screens may be of solid plastic a minimum of 1" thick or phenolic plastic a minimum of 3/4" thick for wall- hung installations. Where screens are supported on two sides, solid plastic screens shall be a minimum of 1" thick and phenolic plastic a minimum of 1/2" thick.

6.5.9	Hardware and Fittings:

6.5.9.1	Doors, partitions, pilasters and screens shall be furnished with the necessary hardware and fittings to provide a complete installation. They shall be pre-cut to facilitate erection and minimize field errors.

6.5.9.2	Materials: Hardware shoe trim and fittings shall be either satin-finish type 304 or 316 only stainless steel, or anodized extruded aluminum chrome plated brass is not desired. Non-ferrous alloys such as Zamac castings shall not be used.

6.5.9.3	Door hinges: Either spring or cam-action type and adjustable to hold the door open about 12 inches in a pre-set position. All parts shall be non-rusting such as stainless steel pintles; nylon or delrin cams; nylon, delrin or self-lubricating bronze bushings; and housings of anodized extruded aluminum alloy or satin-finish stainless steel.

6.5.9.4	Latches: The latch shall be of a shape which is easy to grasp with one hand and which does not require tight grasping, tight pinching or twisting of the wrist to operate and shall be operable by a person on the outside in the event of an emergency. Mechanisms such as slide bolts with a projecting handle on the inside of the stall which can be opened by a person on the outside reaching over the door with a stick are acceptable.

6.5.9.5	Coat Hook/Door Bumper: Furnish one each per door.  For standard stalls:  mount at middle of door.  For Access stalls:  consider mounting door bumper up high at middle of door.  Mount a separate flat type coat hook low – 48” or partition behind the door.

6.5.9.6	Shoe: All pilasters and stiles shall have a 3 inch high minimum trim cover or shoe.

6.5.9.7	Hardware mounting heights: The highest part of any handle, pull, grab bar, latch or operating mechanism shall be at 36 inches max. above the finished floor.

6.5.9.8	Fasteners: Hardware and fittings shall be fastened with theft-resistant stainless steel or chrome plated brass through-bolts or machine screws in factory installed steel inserts.  Do not use “one-way” screws.

6.6	Installation (Part 3):

6.6.1	Clearances: Provide the following uniform clearances:

6.6.1.1	1/2" max. between the stiles/pilasters and partitions.

6.6.1.2	1" max. between stiles/pilasters/partitions and walls.

6.6.1.3	3/16" max. between stiles/pilasters and doors.

6.6.2	Anchorage:  Anchorage to concrete or to masonry at grouted cells shall be bolts with lead or steel expansion shields. Anchorage to masonry at ungrouted cells or to gypsum board walls shall be with toggle bolts.

END OF SECTION 10165